QUESTION BANK (I Scheme)

Name of subject: Electrical and Electronic Measurement

Course Title: EEM (22325)                          Unit Test: I

Semester: 3I                                                   Program Code: EE

CHAPTER 1: Fundamentals of measurement (10 marks) (CO1)

2 marks

- State the necessity of measurement necessity?

- State the meaning of the following:

- Sensitivity (ii) Deflecting torque

- State the types of errors (Any four).

- List differences between absolute and secondary instrument

- Define the term ‘calibration’ and state its need for measuring instruments.

- Sate the advantaged of PMMC instrument.

4 marks

- State the desirable qualities of measuring instrument and explain any two in brief.

- State the differences between analog instruments and digital instruments.

- State the types of errors in measuring instruments and reasons of occurrence of errors.

- Define the following terms.

(i) Precision (ii) Drift (iii) Resolution (iv) Back lash

- Explain instrumental errors and observational error in measuring instruments.

CHAPTER2: Measurement of voltage and current (12marks) (CO2)

- Marks

- Sate the advantaged of PMMC instrument.

- State the meaning of i) Deflecting Torque ii) Damping Torque.

- State the meaning of the following: (i) Sensitivity (ii) Deflecting torque

- What is the difference between conventional ammeter and clip-on ammeter?

- Calculate the resistance of shunt required to make a milliammeter which gives maximum deflection for a current of 15 mA and which has a resistance of 5 W, read up to 10 Amp.

- Compare repulsion type MI instrument with attraction type MI instrument?

- marks

1. Explain the construction and working of PMMC meter with neat sketch.

- Explain the construction and working of MI meter with neat sketch.

- State the necessity of extension of Ammeter using shunt with mathematical derivation if necessary.

- A moving coil instrument gives full scale deflection of 24 mA. When a P.D. across if is 108 mV. Find the value of –

(i) Series resistance for full scale deflection of 400 V.

- (ii) Find the power consumption.

- Describe with circuit diagram, the working of full wave rectifier type A.C Voltmeter.

- Explain with sketch, the construction and working principle of repulsion type moving iron instrument?

CHAPTER 3: Measurement of Electric power (11 marks) (CO3)

- Marks

- List out comparisons between CT’s and PT’s (Any four).

- State the difference between unity P.F wattmeter and low P.F wattmeter.

- A single phase wattmeter rated for 500 V; 5 A is having full scale deflection of 1000 watt. What is multiplying factor of the wattmeter?

- Explain multiplying factor given on wattmeter.

- Explain the need of phase sequence indicator.

- Comparison between different wattmeter methods ( 1 wattmeter, 2  wattmeter and 3 wattmeter)  for 3-phaseActive Power measurement

- marks

- With the neat sketch explain working of Dynamometer type wattmeter.

- State errors occurring in wattmeter and suggest method for overcoming such types of errors (Any six).

- State the merits and demerits of power measurement using 2-wattmeter method.

- Explain the working of maximum demand indicator with a neat sketch.

- Explain the working principle of phase sequence indicator with relevant

Constructional diagram

- Describe with neat diagram 4-Quadrant meter.