QUESTION BANK (I Scheme)

Name of subject: Electrical and Electronic Measurement

Course Title: EEM (22325)                          Unit Test: II

Semester: 3I                                                   Program Code: EE

CHAPTER 4: Measurement of Electric energy (11 marks) (CO4)

2 marks

- State the working principle of single phase electronic energy meter.

- State the various errors in single phase electronic energy meter.

- State any two advantages of electronic energy meter?

4 marks

- Explain the working of single phase electronic energy meter with sketch.

- Draw a neat labelled diagram of 3-phase electronic energy meter.

- Describe with circuit diagram, the calibration of single phase electronic energy meter using direct loading.

- List any four errors in induction type energy meter. Give the method of compensation for each type of error.

CHAPTER5: Measuring Instrument (26marks) (CO5)

- Marks

- Give the classification of resistances stating their values.

- State the working principle of phase sequence indicator.

- Draw a neat block diagram of single beam CRO.

- State the significance of function generator.

- List any four applications of Digital multimeter.

- State the working principle of single phase electronic energy meter.

- List any four errors occurring in single phase electronic energy meter.

- Draw a neat block diagram of single beam CRO.

- State the significance of function generator.

- What is the necessity of synchro scope in power system?

- Marks

- Explain the method of measuring medium resistance with neat diagram and

equation of Wheatstone bridge at balance.

- Explain the method of measuring low resistance with neat diagram and

equation of Kelvin’s Double bridge at balance.

- With neat sketch explain the construction and  working of megger

- Explain multimeter with neat block diagram.

- Explain the working of L-C-R meter with suitable sketch.

- A Kelvin’s double bridge has component resistances

- Standard resistance = 100.03 µΩ

- Inner ratio arms  100.31Ω and 200Ω

- Outer ratio arms  = 100.24 Ω and 200Ω

- Resistance of the link connecting the standard and the unknown resistance = 700 µΩ

Calculate the unknown resistance to the nearest 0.01 µΩ.

- Describe with a neat sketch the construction of ferromagnetic type frequency

meter.

- Explain the working of Synchroscope with neat sketch.

- Explain the working of Infrared meter with neat sketch.

- State the necessity and construction of earth tester with suitable sketch.

- Draw the neat labelled diagram showing the controls available on front panel

of CRO.

- Draw a block diagram of CRO and state the function of each block.

- Describe how the following measurements can be made with the use of

CRO :-

(i) Voltage measurement

(ii) Time period measurement

- Describe the functions of following components of CRT :

i) Electron gun ii) vertical amplifier iii) horizontal amplifier iv) time base generator

- Describe with sketches the various blocks and working of signal generator.

- Describe with block diagram, the working of function generator.

- What is Trivector meter? Describe the constructional details of Trivector

meter?