Question Bank (I-Scheme)

Name of course: Electrical Materials & Wiring Practice                           Unit Test: II

Subject code: 22328 (EMW)                Semester: III                        	   Program: EE

Chapter 4:  Electrical Wiring

- Marks

- State any four types of wires used in electrical wiring.

- Classify Cables as per the operating voltage for which they are designed.

- Name any four types of wiring systems.

- Draw a wiring diagram for 1 lamp controlled by 1 switch.

- Name any two types of wire joints.

- Name any two methods of laying the underground cable.

- State types of conduit wiring.

- Marks

- Draw and explain any one method of laying underground cable.

- Draw and explain wiring diagram for control of 1 lamp using 2 switches.

- Draw and explain wiring diagram for 3 compartments godown.

- Draw a wiring diagram for control of two lamps, one wall socket and two fans along with location of supply and fuse.

- Draw and explain Surface conduit wiring.

- Compare Cleat wiring with lead sheathed wiring.

- Draw and explain wooden casing-capping wiring.

Chapter 5: Earthing Systems

2 Marks

- What is earthing?

- What is necessity of earthing in electrical installations?

- State types of earthing.

- What is use of a Megger?

- Write any one Indian Electricity Rule relevant to earthing.

4 Marks

- Explain plate earthing with a neat diagram

- Explain pipe earthing with a neat diagram.

- What are various factors affecting earth resistance.

- Explain measurement of earth resistance by fall of potential method.

- Explain measurement of earth resistance by using Megger earth Tester.